## README
V&V Records Workbook | Human-editable Excel view of records/*.yaml.
Canonical source | records/*.yaml remains canonical. Import validates before replacing YAML.
List fields | Enter one ID or value per line inside the cell.
Hidden sheets | _meta, _schema, and _lookups support import/export and validation.
Reserved file name | vnv-records.xlsx

## Project
name | product_code | version | manufacturer.name | intended_use | intended_users | operating_environment | software_safety_class | regulatory_context.primary_standard | regulatory_context.lifecycle_scope | limitations
CT Analysis Workstation | CTAW | 0.1.0 | Example Healthcare Software Co. | CT Analysis Workstation is standalone software intended to import computed tomography DICOM series, display image slices, assist users with AI-based segmentation overlays, support ROI and HU measurements, and export measurement reports. The software does not provide autonomous diagnosis. | Radiologist Trained clinical specialist Clinical researcher | Desktop workstation Hospital network environment Local DICOM file storage | B | IEC 62304 | Example SW V&V documentation workflow | AI segmentation output is assistive and must be reviewed by the user. The software does not provide autonomous diagnostic conclusions. Example data is for documentation practice only.

## Documents
id | number | title | version | status | output
sdp | CTAW-SDP-001 | Software Development Plan | 0.1.0 | Draft | 01-software-development-plan.pdf
srs | CTAW-SR-001 | Software Requirements Specification | 0.1.0 | Draft | 02-software-requirements-specification.pdf
sad | CTAW-SA-001 | Software Architecture Design | 0.1.0 | Draft | 03-software-architecture-design.pdf
sdd | CTAW-SD-001 | Software Detailed Design | 0.1.0 | Draft | 04-software-detailed-design.pdf
unit-test | CTAW-UT-001 | Unit Test | 0.1.0 | Draft | 05-unit-test.pdf
integration-test | CTAW-IT-001 | Integration Test | 0.1.0 | Draft | 06-integration-test.pdf
system-test | CTAW-ST-001 | System Test | 0.1.0 | Draft | 07-system-test.pdf
vv-report | CTAW-VVR-001 | Software Verification and Validation Report | 0.1.0 | Draft | 08-sw-vv-report.pdf

## Software Development Plan
lifecycle_model | configuration_management | problem_resolution | verification_strategy | ai_model_controls
Incremental development with document-controlled reviews. | Source data, Typst documents, and scripts are version controlled in Git. | Issues are tracked and resolved before document release. | Verification coverage is planned through traceability from SR items to UT, IT, and ST items. | AI model version is recorded in the YAML V&V Records. Validation dataset scope and planned acceptance metrics are documented before release. AI segmentation is limited to assistive use and user review is required.

## Requirements
id | title | description | rationale | related_architecture | related_design | risk_controls | verified_by
SR-001 | Import CT DICOM series | The software shall import a CT DICOM series from local storage. | CT image import is required before viewing, measurement, or segmentation. | SA-001 | SD-001 |  | ST-001
SR-002 | Display CT image slices | The software shall display axial CT image slices with window and level controls. | Users need visual inspection of CT image data. | SA-002 | SD-002 |  | ST-002
SR-003 | Measure ROI HU statistics | The software shall calculate mean, minimum, and maximum HU values for a user-defined ROI. | Quantitative HU measurement supports clinical review workflows. | SA-003 | SD-003 |  | ST-003
SR-004 | Generate AI segmentation mask | The software shall generate an AI-based segmentation mask for supported CT anatomy. | AI segmentation assists users in reviewing anatomical regions. | SA-004 | SD-004 SD-005 | RC-001 RC-002 | ST-004
SR-005 | Review segmentation overlay | The software shall allow users to show, hide, and visually review AI segmentation overlays. | AI output must remain reviewable by the intended user. | SA-005 | SD-006 | RC-001 | ST-005
SR-006 | Label AI-assisted measurements | The software shall indicate when a measurement uses an AI-generated segmentation mask. | Users need clear context for measurements derived from AI output. | SA-006 | SD-007 | RC-003 | ST-006
SR-007 | Export measurement report | The software shall export a measurement report including selected image metadata, ROI measurements, and AI-assistance indicators. | Measurement results need to be reviewed outside the software. | SA-006 | SD-008 |  | ST-007

## Architecture
id | title | description | related_requirements | related_design | verified_by
SA-001 | DICOM Importer | Loads and validates local CT DICOM series before making image data available to other components. | SR-001 | SD-001 | IT-001
SA-002 | Image Viewer | Presents CT slices with interactive window and level controls. | SR-002 | SD-002 | IT-002
SA-003 | Measurement Engine | Computes ROI HU statistics from calibrated CT voxel data. | SR-003 | SD-003 | IT-003
SA-004 | AI Segmentation Engine | Runs the configured segmentation model and produces a binary segmentation mask. | SR-004 | SD-004 SD-005 | IT-004
SA-005 | Segmentation Overlay Renderer | Renders AI-generated masks as overlays that users can show, hide, and review. | SR-005 | SD-006 | IT-005
SA-006 | Report Exporter | Generates measurement reports with image metadata, measurement values, and AI-assistance indicators. | SR-006 SR-007 | SD-007 SD-008 | IT-006

## Detailed Design
id | title | description | related_architecture | verified_by
SD-001 | DICOM series validation | Validate modality, slice ordering, pixel spacing, and rescale slope/intercept before accepting an imported series. | SA-001 | UT-001
SD-002 | Window and level transformation | Convert HU values to display intensity using user-selected window and level settings. | SA-002 | UT-002
SD-003 | ROI statistics calculation | Calculate mean, minimum, and maximum HU values inside a user-defined ROI. | SA-003 | UT-003
SD-004 | AI preprocessing pipeline | Normalize CT input volume and prepare model input tensors according to the model specification. | SA-004 | UT-004
SD-005 | Segmentation mask postprocessing | Convert model output into a binary mask aligned to the source CT image geometry. | SA-004 | UT-005
SD-006 | Overlay visibility control | Maintain UI state for showing and hiding AI segmentation overlays without altering source image data. | SA-005 | UT-006
SD-007 | AI-assisted measurement labeling | Attach an AI-assistance indicator to measurements derived from AI-generated masks. | SA-006 | UT-007
SD-008 | Report content assembly | Assemble measurement report content from image metadata, ROI measurements, and AI-assistance indicators. | SA-006 | UT-008

## Unit Tests
id | title | verifies | procedure | acceptance_criteria
UT-001 | DICOM series validation rejects non-CT input | SD-001 | Provide a non-CT DICOM series and confirm that import validation rejects it with a user-readable error. | Non-CT input is rejected and no image data is loaded.
UT-002 | Window and level transformation maps HU values correctly | SD-002 | Apply known window and level values to a synthetic HU array. | Output intensity values match expected values within rounding tolerance.
UT-003 | ROI statistics calculation returns expected HU values | SD-003 | Calculate statistics for a predefined ROI in a synthetic CT slice. | Mean, minimum, and maximum HU values match the expected result.
UT-004 | AI preprocessing creates model-compatible tensor | SD-004 | Run preprocessing on a representative CT volume. | Tensor shape, spacing metadata, and normalization range match the model specification.
UT-005 | Segmentation mask postprocessing preserves geometry | SD-005 | Convert a known model output mask to image space. | Mask dimensions and orientation match the source CT series.
UT-006 | Overlay visibility control toggles state without changing image data | SD-006 | Toggle overlay visibility while tracking source image data checksum. | Overlay visibility changes and source image checksum remains unchanged.
UT-007 | AI-assisted measurement labeling is applied | SD-007 | Create a measurement from an AI-generated mask. | Measurement metadata includes the AI-assisted indicator.
UT-008 | Report content assembly includes required fields | SD-008 | Assemble a report from representative metadata and measurement inputs. | Report content includes patient-neutral image metadata, ROI statistics, and AI-assistance indicators.

## Integration Tests
id | title | verifies | procedure | acceptance_criteria
IT-001 | Importer loads a valid CT DICOM series | SA-001 SR-001 | Import a valid CT DICOM series and confirm image metadata is available to downstream components. | The series is loaded and metadata is passed to the viewer.
IT-002 | Viewer displays imported CT slices | SA-002 SR-002 | Load a CT series and navigate through axial slices. | Slices render in the expected order with window and level controls.
IT-003 | Measurement engine receives calibrated image data | SA-003 SR-003 | Import a CT series and calculate ROI statistics using calibrated HU values. | Measurement results use rescaled HU values.
IT-004 | AI segmentation pipeline produces aligned masks | SA-004 SR-004 | Run preprocessing, inference, and postprocessing for a representative CT series. | The output mask aligns with the source image geometry.
IT-005 | Overlay renderer displays AI segmentation mask | SA-005 SR-005 | Load a segmentation mask and display it over the CT viewer. | The overlay is shown and hidden according to user control.
IT-006 | Report exporter receives AI-assistance indicators | SA-006 SR-006 SR-007 | Export a measurement report after creating AI-assisted and manual measurements. | The exported report identifies which measurements used AI-generated masks.

## System Tests
id | title | verifies | procedure | acceptance_criteria
ST-001 | User imports CT DICOM series | SR-001 | Import a supported CT DICOM series from local storage. | The software accepts the series and displays import metadata.
ST-002 | User views CT image slices | SR-002 | Navigate through an imported CT series and adjust window and level. | Image slices are displayed and visual controls respond as expected.
ST-003 | User measures ROI HU statistics | SR-003 | Draw an ROI and calculate HU statistics. | The software displays mean, minimum, and maximum HU values.
ST-004 | AI segmentation performance meets planned criterion | SR-004 | Run AI segmentation on the validation dataset and calculate the planned segmentation metric. | Acceptance criteria defined in performance metrics are met.
ST-005 | User reviews segmentation overlay | SR-005 | Show and hide AI segmentation overlays after segmentation completes. | The user can review and control overlay visibility.
ST-006 | AI-assisted measurements are labeled | SR-006 | Create a measurement using an AI-generated mask and inspect the measurement display. | The measurement clearly indicates AI assistance.
ST-007 | User exports measurement report | SR-007 | Export a report after creating manual and AI-assisted measurements. | The exported report contains image metadata, ROI statistics, and AI-assistance indicators.

## Risk Controls
id | title | risk | control | related_requirements | verified_by
RC-001 | User review of AI segmentation | User may rely on inaccurate segmentation without review. | The software shall present segmentation as an overlay that the user can review and hide. | SR-005 | ST-005
RC-002 | AI output limitation statement | User may interpret AI segmentation as an autonomous diagnosis. | Product labeling and user-facing text shall state that AI segmentation is assistive and requires user review. | SR-004 | ST-004
RC-003 | AI-assisted measurement indicator | Measurement reports may not distinguish manual measurements from AI-assisted measurements. | Measurements derived from AI-generated masks shall be labeled as AI-assisted. | SR-006 | ST-006

## AI Models
id | name | version | task | input.modality | input.format | output.type | output.target | intended_use_limitation | related_requirements | related_architecture | related_design | related_system_tests
MODEL-001 | CT Organ Segmentation Model | 0.1.0-example | image_segmentation | CT | DICOM series converted to normalized volume tensor | binary segmentation mask | supported anatomy region | The model output is assistive, requires user review, and is not intended to provide autonomous diagnosis. | SR-004 SR-005 SR-006 | SA-004 SA-005 | SD-004 SD-005 SD-006 | ST-004 ST-005 ST-006

## Datasets
id | name | purpose | modality | sample_count | anatomy | inclusion_criteria | exclusion_criteria | related_model | related_system_tests
DS-VAL-001 | Example CT Segmentation Validation Dataset | validation | CT | 50 | supported anatomy region | Adult CT DICOM series with complete image metadata Slice thickness within the supported range Reference segmentation mask available | Severe motion artifact Missing rescale slope or intercept metadata Unsupported acquisition geometry | MODEL-001 | ST-004

## Performance Metrics
id | name | description | acceptance_criterion | related_model | related_system_tests
MET-001 | Dice Similarity Coefficient | Planned overlap metric for comparing AI-generated masks against reference masks. | Mean Dice Similarity Coefficient shall be greater than or equal to 0.90 on the validation dataset. | MODEL-001 | ST-004
MET-002 | Mask Geometry Alignment | Planned check that segmentation masks preserve source CT geometry after postprocessing. | Generated masks shall match source CT dimensions, orientation, and spacing metadata. | MODEL-001 | ST-004

## Document Approvers
document_id | order | role | name
sdp | 1 | Software Lead | TBD
sdp | 2 | Quality Lead | TBD
srs | 1 | Software Lead | TBD
srs | 2 | Quality Lead | TBD
sad | 1 | Software Architect | TBD
sdd | 1 | Software Lead | TBD
unit-test | 1 | Software Lead | TBD
integration-test | 1 | Software Lead | TBD
system-test | 1 | Quality Lead | TBD
vv-report | 1 | Software Lead | TBD
vv-report | 2 | Quality Lead | TBD

## Revision History
version | date | description | author
0.1.0 | 2026-05-31 | Initial executable documentation example. | SWVNV project

## _meta (hidden)
key | value
workbook_type | V&V Records Workbook
workbook_schema_version | 1
exported_at | 2026-06-10T11:44:46+00:00
source_commit | cf8c520
records_dir | records

## _schema (hidden)
sheet | yaml_file | yaml_key | column | kind | required
Project | project.yaml | project | name | scalar | TRUE
Project | project.yaml | project | product_code | scalar | TRUE
Project | project.yaml | project | version | scalar | TRUE
Project | project.yaml | project | manufacturer.name | scalar | FALSE
Project | project.yaml | project | intended_use | scalar | FALSE
Project | project.yaml | project | intended_users | list | FALSE
Project | project.yaml | project | operating_environment | list | FALSE
Project | project.yaml | project | software_safety_class | scalar | FALSE
Project | project.yaml | project | regulatory_context.primary_standard | scalar | FALSE
Project | project.yaml | project | regulatory_context.lifecycle_scope | scalar | FALSE
Project | project.yaml | project | limitations | list | FALSE
Documents | documents.yaml | documents | id | scalar | TRUE
Documents | documents.yaml | documents | number | scalar | TRUE
Documents | documents.yaml | documents | title | scalar | TRUE
Documents | documents.yaml | documents | version | scalar | TRUE
Documents | documents.yaml | documents | status | scalar | TRUE
Documents | documents.yaml | documents | output | scalar | TRUE
Software Development Plan | software-development-plan.yaml | plan | lifecycle_model | scalar | TRUE
Software Development Plan | software-development-plan.yaml | plan | configuration_management | scalar | FALSE
Software Development Plan | software-development-plan.yaml | plan | problem_resolution | scalar | FALSE
Software Development Plan | software-development-plan.yaml | plan | verification_strategy | scalar | TRUE
Software Development Plan | software-development-plan.yaml | plan | ai_model_controls | list | FALSE
Requirements | requirements.yaml | requirements | id | scalar | TRUE
Requirements | requirements.yaml | requirements | title | scalar | TRUE
Requirements | requirements.yaml | requirements | description | scalar | TRUE
Requirements | requirements.yaml | requirements | rationale | scalar | TRUE
Requirements | requirements.yaml | requirements | related_architecture | list | FALSE
Requirements | requirements.yaml | requirements | related_design | list | FALSE
Requirements | requirements.yaml | requirements | risk_controls | list | FALSE
Requirements | requirements.yaml | requirements | verified_by | list | TRUE
Architecture | architecture.yaml | architecture_items | id | scalar | TRUE
Architecture | architecture.yaml | architecture_items | title | scalar | TRUE
Architecture | architecture.yaml | architecture_items | description | scalar | TRUE
Architecture | architecture.yaml | architecture_items | related_requirements | list | FALSE
Architecture | architecture.yaml | architecture_items | related_design | list | FALSE
Architecture | architecture.yaml | architecture_items | verified_by | list | FALSE
Detailed Design | detailed-design.yaml | design_items | id | scalar | TRUE
Detailed Design | detailed-design.yaml | design_items | title | scalar | TRUE
Detailed Design | detailed-design.yaml | design_items | description | scalar | TRUE
Detailed Design | detailed-design.yaml | design_items | related_architecture | list | FALSE
Detailed Design | detailed-design.yaml | design_items | verified_by | list | FALSE
Unit Tests | tests.yaml | unit_tests | id | scalar | TRUE
Unit Tests | tests.yaml | unit_tests | title | scalar | TRUE
Unit Tests | tests.yaml | unit_tests | verifies | list | TRUE
Unit Tests | tests.yaml | unit_tests | procedure | scalar | TRUE
Unit Tests | tests.yaml | unit_tests | acceptance_criteria | scalar | TRUE
Integration Tests | tests.yaml | integration_tests | id | scalar | TRUE
Integration Tests | tests.yaml | integration_tests | title | scalar | TRUE
Integration Tests | tests.yaml | integration_tests | verifies | list | TRUE
Integration Tests | tests.yaml | integration_tests | procedure | scalar | TRUE
Integration Tests | tests.yaml | integration_tests | acceptance_criteria | scalar | TRUE
System Tests | tests.yaml | system_tests | id | scalar | TRUE
System Tests | tests.yaml | system_tests | title | scalar | TRUE
System Tests | tests.yaml | system_tests | verifies | list | TRUE
System Tests | tests.yaml | system_tests | procedure | scalar | TRUE
System Tests | tests.yaml | system_tests | acceptance_criteria | scalar | TRUE
Risk Controls | risk-controls.yaml | risk_controls | id | scalar | TRUE
Risk Controls | risk-controls.yaml | risk_controls | title | scalar | TRUE
Risk Controls | risk-controls.yaml | risk_controls | risk | scalar | TRUE
Risk Controls | risk-controls.yaml | risk_controls | control | scalar | TRUE
Risk Controls | risk-controls.yaml | risk_controls | related_requirements | list | TRUE
Risk Controls | risk-controls.yaml | risk_controls | verified_by | list | TRUE
AI Models | ai-models.yaml | ai_models | id | scalar | TRUE
AI Models | ai-models.yaml | ai_models | name | scalar | TRUE
AI Models | ai-models.yaml | ai_models | version | scalar | TRUE
AI Models | ai-models.yaml | ai_models | task | scalar | TRUE
AI Models | ai-models.yaml | ai_models | input.modality | scalar | FALSE
AI Models | ai-models.yaml | ai_models | input.format | scalar | FALSE
AI Models | ai-models.yaml | ai_models | output.type | scalar | FALSE
AI Models | ai-models.yaml | ai_models | output.target | scalar | FALSE
AI Models | ai-models.yaml | ai_models | intended_use_limitation | scalar | FALSE
AI Models | ai-models.yaml | ai_models | related_requirements | list | TRUE
AI Models | ai-models.yaml | ai_models | related_architecture | list | FALSE
AI Models | ai-models.yaml | ai_models | related_design | list | FALSE
AI Models | ai-models.yaml | ai_models | related_system_tests | list | TRUE
Datasets | datasets.yaml | datasets | id | scalar | TRUE
Datasets | datasets.yaml | datasets | name | scalar | TRUE
Datasets | datasets.yaml | datasets | purpose | scalar | TRUE
Datasets | datasets.yaml | datasets | modality | scalar | FALSE
Datasets | datasets.yaml | datasets | sample_count | integer | TRUE
Datasets | datasets.yaml | datasets | anatomy | scalar | FALSE
Datasets | datasets.yaml | datasets | inclusion_criteria | list | FALSE
Datasets | datasets.yaml | datasets | exclusion_criteria | list | FALSE
Datasets | datasets.yaml | datasets | related_model | scalar | TRUE
Datasets | datasets.yaml | datasets | related_system_tests | list | TRUE
Performance Metrics | performance-metrics.yaml | performance_metrics | id | scalar | TRUE
Performance Metrics | performance-metrics.yaml | performance_metrics | name | scalar | TRUE
Performance Metrics | performance-metrics.yaml | performance_metrics | description | scalar | FALSE
Performance Metrics | performance-metrics.yaml | performance_metrics | acceptance_criterion | scalar | TRUE
Performance Metrics | performance-metrics.yaml | performance_metrics | related_model | scalar | TRUE
Performance Metrics | performance-metrics.yaml | performance_metrics | related_system_tests | list | TRUE

## _lookups (hidden)
Record Items | Requirements | Architecture | Design | Unit Tests | Integration Tests | System Tests | Risk Controls | Models
SR-001 | SR-001 | SA-001 | SD-001 | UT-001 | IT-001 | ST-001 | RC-001 | MODEL-001
SR-002 | SR-002 | SA-002 | SD-002 | UT-002 | IT-002 | ST-002 | RC-002
SR-003 | SR-003 | SA-003 | SD-003 | UT-003 | IT-003 | ST-003 | RC-003
SR-004 | SR-004 | SA-004 | SD-004 | UT-004 | IT-004 | ST-004
SR-005 | SR-005 | SA-005 | SD-005 | UT-005 | IT-005 | ST-005
SR-006 | SR-006 | SA-006 | SD-006 | UT-006 | IT-006 | ST-006
SR-007 | SR-007 |  | SD-007 | UT-007 |  | ST-007
SA-001 |  |  | SD-008 | UT-008
SA-002
SA-003
SA-004
SA-005
SA-006
SD-001
SD-002
SD-003
SD-004
SD-005
SD-006
SD-007
SD-008
UT-001
UT-002
UT-003
UT-004
UT-005
UT-006
UT-007
UT-008
IT-001
IT-002
IT-003
IT-004
IT-005
IT-006
ST-001
ST-002
ST-003
ST-004
ST-005
ST-006
ST-007